|  | Worksheet 7 Thermocouples CP1972-7 |  | Sensors and microcontrollers |
| --- | --- | --- | --- |
|  | Thermocouples are often used for measuring temperature in industrial processes. They are not as accurate as some modern chips – but they have a much greater range – up to 2,500C. In this worksheet / project you learn how to use a thermocouple to make a temperature control system. |  |  |

## There is no video for this worksheet.

## Over to you:

Load the file “BL0126 Thermocouple". Set up the hardware appropriately.

Make sure you understand how the program works

## Challenge:

Modify the program to make a heating controller which includes the following features:

  - A display of temperature, set temperature and heater status

  - A graph showing temperature variation over time – refreshing every 30 minutes. Temperature range 15C to 30C.

  - An LED that lights up when the target temperature is over run

  - A way of altering the set temperature with either switches or graphical display touch areas ‘+’ and ‘-‘.

## Hints:

- Review the worksheets in Introduction to microcontrollers where you will find examples of graphs and graphical displays, and touchable buttons for graphical displays.